| Worksheet Revision : |  | Serial No.: |
| --- | --- | --- |
| Customer: |  | Completed by/Date: |  |
| Project: |  | Reviewed by/Date: |  |
| SOR No.: |  | Quote No. |  | System Item No.: |  |

Model : 	           LKAT+ :   Std.    OEM    Sigma	           LKAT2 :   Std.    OEM    Sigma

Mains Power : 	   85 to 264V AC (47 to 440Hz) <or> 110 to 264V DC            18 to 36V DC option for LKAT2 ONLY

Measurement Head and Cables :	                  Bus Dimension    Nominal Head Size       Mounting Hardware

P1 =     mm     (     N1 =      mm	 	 LKAT+

| P2 = mm ( N2 = mm LKAT2 P1 / P2 > 60mm |  |
| --- | --- |
| LKAT2 P1 / P2 40…60mm LKAT2 P1 / P2 < 40mm |  |
| Cable Lengths : | Standard Special |  |  |
| Head ( cables exit head on P1 side ) | 10m m |  |  |
| Output ( except OEM / SIGMA ) | 30m m |  |  |
| Mains Power ( except OEM / SIGMA ) | 10m m |  |  |

| Main / Std. Outputs |  | (“-“ F.S. not used for Sigma) | 0% F.S. | Cal.Pt. kA Std. Cal. Pt. is + 100% of F.S. |
| --- | --- | --- | --- | --- |
|  | Main Measuring Range→ | - 100% F.S. - kA | 0kA | + 100% F.S. + kA |
| Output Type Choose One | Current 1 |  | “0 to 20 mA” | -20mA | 0mA | +20mA |
|  | Current 2 |  | “4 to 20 mA” | -12mA | +4mA | +20mA |
|  | Current 3 |  | “4 to 20 mA” | +4mA | +12mA | +20mA |
|  | Voltage 1 |  | “0 to 1 Volt” | -1 Volt | 0 Volts | +1 Volt |
|  | Voltage 2 |  | “0 to 10 Volts” | -10 Volts | 0 Volts | +10 Volts |
| Trip Setpoint 1: | kA | Forward | Reverse | Not Used | trip must be within +/-5% to +/-100% of Main F.S.. |
| Optional “PE” Outputs (Protection Extension) Not Used | Standard OEM/Sigma LKAT2 : 046389 046390 LKAT+ : 046386 046387 | (“-“ not used for Sigma) | 0% F.S. | Cal.Pt. kA Std. Cal. Pt. is + 100% of F.S. |
|  | PE Measuring Range→ | -100% F.S. - kA | 0kA | +100% F.S. + kA |
| Output Type Choose One | Current 1 |  | “0 to 20 mA” | -20mA | 0mA | +20mA |
|  | Current 2 |  | “4 to 20 mA” | -12mA | +4mA | +20mA |
|  | Current 3 |  | “4 to 20 mA” | +4mA | +12mA | +20mA |
|  | Voltage 1 |  | “0 to 1 Volt” | -1 Volt | 0 Volts | +1 Volt |
|  | Voltage 2 |  | “0 to 10 Volts” | -10 Volts | 0 Volts | +10 Volts |
| Trip Setpoint 2: | kA | Forward | Reverse | Not Used | trip must be within +/-5% to +/-100% of PE F.S. trip must be within +/-5% to +/-100% of PE F.S. |
| Trip Setpoint 3: | kA | Forward | Reverse | Not Used |  |
| Optional Display : None | DC (DC Applications) | True RMS (AC or Pulse Applications) LKAT2: 046391 LKAT+: 046388 |

Special Instructions

NOTE : ALL COMMENTS, CORRECTIONS AND/OR CHANGES MUST BE INITIALED AND DATED